## FCDPro+
Funcube / SRX calibration.
First, establish signal strength from USRP-E WBX board @ 166.380 MHz
tx_waveforms --gain G --freq 166380000 --ampl 1 --wave-type CONST --rate 1e6
Using 2 x 20dB attenuators.
where G is varied from 0 to 30
Feeding into Marconi RF meter |  |  |  | Marconi Cal factor @ 166.38 MHz: |  |  | 0.89 | 0.5061 | (in dB)
Amp | Tx Gain | Attenuators (dB) | Marconi RF 6960 reading (dBm) | True power (dBm)
1 | 0 | 41.26 | -47.2 | -5.4339
1 | 2 | 41.26 | -45.19 | -3.4239
1 | 5 | 41.26 | -42.14 | -0.3739
1 | 7 | 41.26 | -40.15 | 1.6161
1 | 10 | 41.26 | -37.12 | 4.6461
1 | 12 | 41.26 | -35.04 | 6.7261
1 | 13 | 41.26 | -34.05 | 7.7161
1 | 14 | 41.26 | -33.04 | 8.7261
1 | 15 | 41.26 | -32.06 | 9.7061
1 | 16 | 41.26 | -31.05 | 10.7161
1 | 17 | 41.26 | -30.06 | 11.7061
1 | 20 | 41.26 | -27.01 | 14.7561
1 | 22 | 41.26 | -25.07 | 16.6961
1 | 25 | 41.26 | -22.47 | 14.7561
1 | 30 | 41.26 | -20.48 | 21.2861
0.5 | 0 | 41.26 | -51.14 | -9.3739
0.25 | 0 | 41.26 | -58.1 | -16.3339
0.125 | 0 | 41.26 | -71.5 | -29.7339
0.1 | 0 | 20.63 | -44.5 | -23.3639
0.05 | 0 | 20.63 | -50.7 | -29.5639
0.025 | 0 | 20.63 | -56.92 | -35.7839
0.01 | 0 | 20.63 | -67.3 | -46.1639
0.008 | 0 | 20.63 | -71.8 | -50.6639
0.007 | 0 | 20.63 | -74 | -52.8639
Given Tx gain of 15, output is 9.71 dBm; did measurements of Peak strength in Audacity spectrum using Hamming window 512 samples
Attenuators were measured to be 20.63 +/- 0.01 dB @ 166.38 MHz
FCD Pro + @ 48 kHz
true power (dBm) | Attenuators (dB) | Incoming Pwr (dBm) | LNA | Mixer Gain ? | IF Gain | Peak dB
9.7061 | 103.15 | -93.4439 | y | y | 0 | -47.6
9.7061 | 103.15 | -93.4439 | n | y | 0 | -71.7
9.7061 | 103.15 | -93.4439 | n | n | 0 | -90.1
9.7061 | 103.15 | -93.4439 | y | n | 0 | -66.9
9.7061 | 103.15 | -93.4439 | y | y | 5 | -42.9
9.7061 | 103.15 | -93.4439 | y | y | 10 | -38
9.7061 | 103.15 | -93.4439 | y | y | 15 | -32.8
9.7061 | 103.15 | -93.4439 | y | y | 20 | -27.8
9.7061 | 103.15 | -93.4439 | y | y | 25 | -22.8
9.7061 | 103.15 | -93.4439 | y | y | 30 | -20.9 | (left channel dropped out)
9.7061 | 103.15 | -93.4439 | y | y | 35 | -16.1 | (left channel dropped out)
9.7061 | 103.15 | -93.4439 | y | y | 40 | both channnels drop out
-5.4339 | 103.15 | -108.5839 | y | y | 0 | -63.9
-5.4339 | 103.15 | -108.5839 | y | y | 5 | -58.3
-5.4339 | 103.15 | -108.5839 | y | y | 10 | -53.3
-5.4339 | 103.15 | -108.5839 | y | y | 15 | -48.2
-5.4339 | 103.15 | -108.5839 | y | y | 20 | -43.2
-5.4339 | 103.15 | -108.5839 | y | y | 25 | -38.1
-5.4339 | 103.15 | -108.5839 | y | y | 30 |  | left channel drop out.
-50.6639 | 103.15 | -153.8139 | y | y | 0 | -94.9
-46.1639 | 103.15 | -149.3139 | y | y | 0 | -92
-35.7839 | 103.15 | -138.9339 | y | y | 0 | -87.3
-50.6639 | 82.52 | -133.1839 | y | y | 0 | -77.2
-29.5639 | 103.15 | -132.7139 | y | y | 0 | -74.2
-46.1639 | 82.52 | -128.6839 | y | y | 0 | -75.6 |  | -92.5 | -92.3
-16.3339 | 103.15 | -119.4839 | y | y | 0 | -68.1
-35.7839 | 82.52 | -118.3039 | y | y | 0 | -67.9
-29.7339 | 82.52 | -112.2539 | y | y | 0 | -61.8
-5.4339 | 82.52 | -87.9539 | y | y | 0 | -42.5
-16.3339 | 61.89 | -78.2239 | y | y | 0 | -27.4
-5.4339 | 61.89 | -67.3239 | y | y | 0 | -22.3
-16.3339 | 41.26 | -57.5939 | y | y | 0 | -7.8
-9.3739 | 41.26 | -50.6339 | y | y | 0 | -0.1
-5.4339 | 41.26 | -46.6939 | y | y | 0 | -2 | ??saturation?

## srx-dl
Lotek SRX-DL | (tag 368 simulated by usrpe) |  | Cmdline on usrpe: while (( 1 )); do ./tx_samples_from_file --spb 200000 --rate 1000000 --freq 166376000 --gain 0 --file ~/id\=368\,amp\=1\,freq\=4000\,rate\=1000000.dat ; done
|  | True power | Gain | meanSig | sd | sig1 | sig2 | sig3 | sig4 | sig5 | sig6 | sig7 | sig8 | sig9 | sig10
|  | -130.5 | 30 | 104.5 | 9.7895 | 112 | 98 | 90 | 91 | 109 | 104 | 98 | 117 | 111 | 115
|  | -130.5 | 40 | 166.6 | 1.3499 | 167 | 167 | 169 | 167 | 165 | 166 | 164 | 167 | 167 | 167
|  | -130.5 | 50 | 191.3 | 1.6364 | 193 | 191 | 192 | 192 | 190 | 193 | 193 | 188 | 191 | 190
|  | -130.5 | 60 | 213.7 | 1.567 | 214 | 215 | 213 | 213 | 211 | 213 | 215 | 216 | 215 | 212
|  | -130.5 | 70 | 241.5 | 2.5055 | 239 | 240 | 240 | 243 | 240 | 238 | 243 | 246 | 242 | 244
|  | -130.5 | 75 | 253.3 | 1.0593 | 251 | 252 | 254 | 253 | 253 | 254 | 254 | 254 | 254 | 254
|  | -145.4 | 75 | 179.1 | 1.5239 | 179 | 179 | 177 | 181 | 179 | 179 | 178 | 181 | 181 | 177
|  | -145.4 | 80 | 188.5 | 4.1966 | 191 | 192 | 191 | 191 | 190 | 187 | 180 | 182 | 191 | 190
|  | -145.4 | 85 | 201.2 | 1.8738 | 203 | 201 | 200 | 203 | 201 | 201 | 204 | 202 | 199 | 198
|  | -145.4 | 90 | 210 | 1.4142 | 211 | 213 | 210 | 210 | 210 | 208 | 210 | 210 | 208 | 210
|  | -145.4 | 70 | 159.5 | 1.2693 | 162 | 159 | 159 | 160 | 160 | 160 | 157 | 160 | 159 | 159
|  | -145.4 | 100 | #DIV/0! | #DIV/0!
|  | -145.4 | 70 | #DIV/0! | #DIV/0!
|  | -145.4 | 60 | #DIV/0! | #DIV/0!
|  | -145.4 | 50 | #DIV/0! | #DIV/0!
|  | -145.4 | 40 | #DIV/0! | #DIV/0!
|  | -145.4 | 30 | #DIV/0! | #DIV/0!
“March 4, 2016”
Amp. | Tx Freq | Tx Gain | Atten | Incoming Pwr | RxGain | meanSig | sdSig | sig1 | sig2 | sig3 | sig4 | sig5 | sig6 | sig7 | sig8 | sig9 | sig10
1 | 166.376 | 10 | 103.15 | -98.55 | 85 |  |  | 210 | 212 | 212 | 214 | 210 | 210 | 212 | 212 | 213 | 212
|  | 11 | 103.15 | -97.55 | 85 |  |  | 214 | 216 | 216 | 218 | 215 | 217 | 216 | 213 | 216 | 217
|  | 12 | 103.15 | -96.55 | 85 |  |  | 221 | 222 | 223 | 220 | 222 | 223 | 222 | 221 | 221 | 222
|  | 13 | 103.15 | -95.55 | 85 |  |  | 227 | 227 | 226 | 225 | 226 | 226 | 229 | 225 | 226 | 225
|  | 14 | 103.15 | -94.55 | 85 |  |  | 234 | 231 | 233 | 231 | 232 | 229 | 230 | 232 | 232 | 229
|  | 15 | 103.15 | -93.55 | 85 |  |  | 237 | 235 | 236 | 237 | 240 | 233 | 237 | 239 | 237 | 238
|  | 16 | 103.15 | -92.55 | 85 |  |  | 244 | 243 | 244 | 245 | 245 | 244 | 245 | 244 | 243 | 244
|  | 17 | 103.15 | -91.55 | 85 |  |  | 248 | 248 | 252 | 251 | 253 | 249 | 249 | 251 | 252 | 251
|  | 18 | 103.15 | -90.55 | 85 |  |  | 254 | 254 | 253 | 253 | 254 | 254 | 254 | 253 | 250 | 254
|  | 19 | 103.15 | -89.55 | 85 |  |  | 254 | 254 | 254 | 255 | 255 | 254 | 254 | 254 | 255 | 254
|  | 20 | 103.15 | -88.55 | 85 |  |  | 255 | 255 | 255 | 255 | 255 | 255 | 255 | 255 | 255 | 255
|  | 8 | 103.15 | -100.55 | 85 |  |  | 203 | 202 | 199 | 200 | 202 | 205 | 204 | 202 | 202 | 202
|  | 6 | 103.15 | -102.55 | 85 |  |  | 192 | 193 | 194 | 192 | 193 | 191 | 192 | 192 | 191 | 191
|  | 4 | 103.15 | -104.55 | 85 |  |  | 179 | 179 | 182 | 181 | 178 | 181 | 180 | 181 | 180 | 181
|  | 2 | 103.15 | -106.55 | 85 |  |  | 167 | 164 | 166 | 168 | 165 | 166 | 168 | 168 | 165 | 164
|  | 0 | 103.15 | -108.55 | 85 |  |  | 150 | 153 | 150 | 150 | 150 | 151 | 149 | 152 | 149 | 151
|  | -2 | 103.15 | -110.55 | 85 |  |  | 127 | 130 | 134 | 131 | 133 | 133 | 132 | 129 | 134 | 134
|  | -4 | 103.15 | -112.55 | 85 |  |  | 109 | 107 | 112 | 112 | 114 | 115 | 115 | 114 | 108 | 106
|  | -6 | 103.15 | -114.55 | 85 |  |  | 87 | 90 | 88 | 95 | 92 | 86 | 91 | 97 | 89 | 96
|  | -8 | 103.15 | -116.55 | 85 |  |  | 64 | 69 | 72 | 69 | 67 | 69 | 69 | 71 | 68 | 61
|  | -10 | 103.15 | -118.55 | 85 |  |  | 45 | 35 | 43 | 39 | 48 | 24 | 56 | 56 | 57 | 39
|  | -11 | 103.15 | -119.55 | 85 |  |  | 36 | 43 | 23 | 28 | 46 | 32 | 17 | 25 | 17
|  | -12 | 103.15 | -120.55 | 85 | ND
|  | 11 | 103.15 | -97.55 | 90 |  |  | 232 | 230 | 227 | 230 | 228 | 229 | 229 | 226 | 227 | 231
|  | 12 | 103.15 | -96.55 | 90 |  |  | 237 | 235 | 236 | 235 | 236 | 235 | 235 | 235 | 234 | 233
|  | 13 | 103.15 | -95.55 | 90 |  |  | 237 | 242 | 241 | 241 | 241 | 243 | 241 | 240 | 238 | 239
|  | 14 | 103.15 | -94.55 | 90 |  |  | 245 | 248 | 244 | 250 | 248 | 247 | 248 | 249 | 248 | 246
|  | 15 | 103.15 | -93.55 | 90 |  |  | 253 | 254 | 253 | 249 | 252 | 253 | 253 | 253 | 252 | 253
|  | 10 | 103.15 | -98.55 | 90 |  |  | 224 | 223 | 224 | 221 | 226 | 223 | 224 | 224 | 223 | 223
|  | 8 | 103.15 | -100.55 | 90 |  |  | 216 | 214 | 214 | 216 | 213 | 215 | 216 | 217 | 213 | 213
|  | 6 | 103.15 | -102.55 | 90 |  |  | 201 | 205 | 205 | 205 | 204 | 206 | 205 | 205 | 202 | 205
|  | 4 | 103.15 | -104.55 | 90 |  |  | 195 | 193 | 196 | 193 | 195 | 197 | 193 | 196 | 190 | 191
|  | 2 | 103.15 | -106.55 | 90 |  |  | 179 | 182 | 180 | 183 | 184 | 180 | 180 | 182 | 182 | 179
|  | 0 | 103.15 | -108.55 | 90 |  |  | 172 | 171 | 170 | 168 | 174 | 168 | 168 | 169 | 168 | 172
|  | -2 | 103.15 | -110.55 | 90 |  |  | 154 | 152 | 159 | 156 | 155 | 157 | 154 | 151 | 149 | 155
|  | -4 | 103.15 | -112.55 | 90 |  |  | 141 | 129 | 135 | 128 | 132 | 138 | 134 | 129 | 136 | 136
|  | -6 | 103.15 | -114.55 | 90 |  |  | 107 | 113 | 110 | 114 | 110 | 115 | 117 | 111 | 108 | 114
|  | -8 | 103.15 | -116.55 | 90 |  |  | 96 | 88 | 91 | 103 | 106 | 93 | 95 | 94 | 95 | 98
|  | -10 | 103.15 | -118.55 | 90 |  |  | 65 | 62 | 80 | 70 | 74 | 87 | 72 | 75 | 71 | 63
|  | -12 | 103.15 | -120.55 | 90 |  |  | 28 | 45 | 36 | 44 | 54 | 53 | 35 | 55 | 51 | 55
|  | -13 | 103.15 | -121.55 | 90 |  |  | 28 | 40 | 24 | 23 | 19 | 35
|  | -14 | 103.15 | -122.55 | 95 |  |  | 54 | 61 | 47 | 46 | 71 | 55 | 40 | 53 | 72 | 62
|  | -15 | 103.15 | -123.55 | 95 |  |  | 54 | 26 | 46 | 19 | 52 | 47 | 59 | 40 | 32 | 49
|  | -12 | 103.15 | -120.55 | 95 |  |  | 67 | 71 | 82 | 72 | 64 | 63 | 90 | 72 | 72 | 63
|  | -10 | 103.15 | -118.55 | 95 |  |  | 107 | 94 | 91 | 94 | 108 | 90 | 90 | 93 | 99 | 89
|  | -8 | 103.15 | -116.55 | 95 |  |  | 101 | 115 | 118 | 114 | 117 | 117 | 117 | 123 | 119 | 116
|  | -5 | 103.15 | -113.55 | 95 |  |  | 142 | 142 | 146 | 150 | 144 | 141 | 141 | 139 | 148 | 147
|  | -2 | 103.15 | -110.55 | 95 |  |  | 174 | 163 | 167 | 171 | 171 | 172 | 167 | 168 | 168 | 168
|  | 1 | 103.15 | -107.55 | 95 |  |  | 191 | 191 | 194 | 190 | 190 | 188 | 188 | 192 | 191 | 192
|  | 4 | 103.15 | -104.55 | 95 |  |  | 207 | 206 | 205 | 209 | 204 | 203 | 208 | 204 | 206 | 205
|  | 7 | 103.15 | -101.55 | 95 |  |  | 223 | 222 | 221 | 223 | 222 | 218 | 220 | 221 | 218 | 221
|  | 10 | 103.15 | -98.55 | 95 |  |  | 235 | 237 | 235 | 239 | 236 | 237 | 238 | 237 | 238 | 237
|  | 13 | 103.15 | -95.55 | 95 |  |  | 252 | 252 | 253 | 254 | 253 | 253 | 253 | 254 | 254 | 252
|  | -5 | 103.15 | -113.55 | 80 |  |  | 79 | 77 | 78 | 82 | 81 | 78 | 85 | 78 | 80 | 85
|  | -7 | 103.15 | -115.55 | 80 |  |  | 53 | 57 | 59 | 52 | 56 | 59 | 52 | 67 | 29 | 54
|  | -9 | 103.15 | -117.55 | 80 |  |  | sig1: 29; sig2: 18; sig3: 37; sig4: 11
|  | -8 | 103.15 | -116.55 | 80 |  |  | 52 | 29 | 38 | 32 | 37 | 42 | 20 | 22 | 34 | 37
|  | -2 | 103.15 | -110.55 | 80 |  |  | 105 | 113 | 109 | 104 | 100 | 109 | 113 | 108 | 110 | 106
|  | 1 | 103.15 | -107.55 | 80 |  |  | 137 | 139 | 137 | 136 | 134 | 138 | 138 | 137 | 135 | 136
|  | 4 | 103.15 | -104.55 | 80 |  |  | 163 | 164 | 163 | 166 | 161 | 163 | 165 | 164 | 166 | 163
|  | 7 | 103.15 | -101.55 | 80 |  |  | 183 | 183 | 184 | 186 | 184 | 181 | 184 | 183 | 185 | 184
|  | 10 | 103.15 | -98.55 | 80 |  |  | 200 | 201 | 200 | 201 | 200 | 201 | 201 | 201 | 200 | 201
|  | 13 | 103.15 | -95.55 | 80 |  |  | 215 | 215 | 212 | 214 | 215 | 216 | 212 | 215 | 215 | 214
|  | 15 | 103.15 | -93.55 | 80 |  |  | 227 | 223 | 220 | 221 | 225 | 224 | 226 | 223 | 226 | 224
|  | 17 | 103.15 | -91.55 | 80 |  |  | 235 | 235 | 236 | 235 | 236 | 235 | 237 | 235 | 236 | 235
|  | 19 | 103.15 | -89.55 | 80 |  |  | 246 | 248 | 247 | 246 | 247 | 247 | 248 | 248 | 248 | 248
|  | 20 | 103.15 | -88.55 | 80 |  |  | 253 | 253 | 253 | 253 | 251 | 253 | 254 | 252 | 253 | 252

## 2016-Mar-04
TxGain | Atten | PwrIn | RxGain | meanSig | sdSig | sig1 | sig2 | sig3 | sig4 | sig5 | sig6 | sig7 | sig8 | sig9 | sig10
10 | 103.15 | -98.55 | 85 | 211.7 | 1.3375 | 210 | 212 | 212 | 214 | 210 | 210 | 212 | 212 | 213 | 212
11 | 103.15 | -97.55 | 85 | 215.8 | 1.4757 | 214 | 216 | 216 | 218 | 215 | 217 | 216 | 213 | 216 | 217
12 | 103.15 | -96.55 | 85 | 221.7 | 0.94868 | 221 | 222 | 223 | 220 | 222 | 223 | 222 | 221 | 221 | 222
13 | 103.15 | -95.55 | 85 | 226.2 | 1.2293 | 227 | 227 | 226 | 225 | 226 | 226 | 229 | 225 | 226 | 225
14 | 103.15 | -94.55 | 85 | 231.3 | 1.6364 | 234 | 231 | 233 | 231 | 232 | 229 | 230 | 232 | 232 | 229
15 | 103.15 | -93.55 | 85 | 236.9 | 1.9692 | 237 | 235 | 236 | 237 | 240 | 233 | 237 | 239 | 237 | 238
16 | 103.15 | -92.55 | 85 | 244.1 | 0.73786 | 244 | 243 | 244 | 245 | 245 | 244 | 245 | 244 | 243 | 244
17 | 103.15 | -91.55 | 85 | 250.4 | 1.7764 | 248 | 248 | 252 | 251 | 253 | 249 | 249 | 251 | 252 | 251
18 | 103.15 | -90.55 | 85 | 253.3 | 1.2517 | 254 | 254 | 253 | 253 | 254 | 254 | 254 | 253 | 250 | 254
19 | 103.15 | -89.55 | 85 | 254.3 | 0.48305 | 254 | 254 | 254 | 255 | 255 | 254 | 254 | 254 | 255 | 254
20 | 103.15 | -88.55 | 85 | 255 | 0 | 255 | 255 | 255 | 255 | 255 | 255 | 255 | 255 | 255 | 255
8 | 103.15 | -100.55 | 85 | 202.1 | 1.7288 | 203 | 202 | 199 | 200 | 202 | 205 | 204 | 202 | 202 | 202
6 | 103.15 | -102.55 | 85 | 192.1 | 0.99443 | 192 | 193 | 194 | 192 | 193 | 191 | 192 | 192 | 191 | 191
4 | 103.15 | -104.55 | 85 | 180.2 | 1.2293 | 179 | 179 | 182 | 181 | 178 | 181 | 180 | 181 | 180 | 181
2 | 103.15 | -106.55 | 85 | 166.1 | 1.5951 | 167 | 164 | 166 | 168 | 165 | 166 | 168 | 168 | 165 | 164
0 | 103.15 | -108.55 | 85 | 150.5 | 1.2693 | 150 | 153 | 150 | 150 | 150 | 151 | 149 | 152 | 149 | 151
-2 | 103.15 | -110.55 | 85 | 131.7 | 2.406 | 127 | 130 | 134 | 131 | 133 | 133 | 132 | 129 | 134 | 134
-4 | 103.15 | -112.55 | 85 | 111.2 | 3.4254 | 109 | 107 | 112 | 112 | 114 | 115 | 115 | 114 | 108 | 106
-6 | 103.15 | -114.55 | 85 | 91.1 | 3.8427 | 87 | 90 | 88 | 95 | 92 | 86 | 91 | 97 | 89 | 96
-8 | 103.15 | -116.55 | 85 | 67.9 | 3.2472 | 64 | 69 | 72 | 69 | 67 | 69 | 69 | 71 | 68 | 61
-10 | 103.15 | -118.55 | 85 | 44.2 | 10.5704 | 45 | 35 | 43 | 39 | 48 | 24 | 56 | 56 | 57 | 39
-11 | 103.15 | -119.55 | 85 | 29.6667 | 10.4881 | 36 | 43 | 23 | 28 | 46 | 32 | 17 | 25 | 17
11 | 103.15 | -97.55 | 90 | 228.9 | 1.912 | 232 | 230 | 227 | 230 | 228 | 229 | 229 | 226 | 227 | 231
12 | 103.15 | -96.55 | 90 | 235.1 | 1.1005 | 237 | 235 | 236 | 235 | 236 | 235 | 235 | 235 | 234 | 233
13 | 103.15 | -95.55 | 90 | 240.3 | 1.8288 | 237 | 242 | 241 | 241 | 241 | 243 | 241 | 240 | 238 | 239
14 | 103.15 | -94.55 | 90 | 247.3 | 1.8288 | 245 | 248 | 244 | 250 | 248 | 247 | 248 | 249 | 248 | 246
15 | 103.15 | -93.55 | 90 | 252.5 | 1.354 | 253 | 254 | 253 | 249 | 252 | 253 | 253 | 253 | 252 | 253
10 | 103.15 | -98.55 | 90 | 223.5 | 1.2693 | 224 | 223 | 224 | 221 | 226 | 223 | 224 | 224 | 223 | 223
8 | 103.15 | -100.55 | 90 | 214.7 | 1.4944 | 216 | 214 | 214 | 216 | 213 | 215 | 216 | 217 | 213 | 213
6 | 103.15 | -102.55 | 90 | 204.3 | 1.567 | 201 | 205 | 205 | 205 | 204 | 206 | 205 | 205 | 202 | 205
4 | 103.15 | -104.55 | 90 | 193.9 | 2.2828 | 195 | 193 | 196 | 193 | 195 | 197 | 193 | 196 | 190 | 191
2 | 103.15 | -106.55 | 90 | 181.1 | 1.7288 | 179 | 182 | 180 | 183 | 184 | 180 | 180 | 182 | 182 | 179
0 | 103.15 | -108.55 | 90 | 170 | 2.1602 | 172 | 171 | 170 | 168 | 174 | 168 | 168 | 169 | 168 | 172
-2 | 103.15 | -110.55 | 90 | 154.2 | 2.9364 | 154 | 152 | 159 | 156 | 155 | 157 | 154 | 151 | 149 | 155
-4 | 103.15 | -112.55 | 90 | 133.8 | 4.2635 | 141 | 129 | 135 | 128 | 132 | 138 | 134 | 129 | 136 | 136
-6 | 103.15 | -114.55 | 90 | 111.9 | 3.2128 | 107 | 113 | 110 | 114 | 110 | 115 | 117 | 111 | 108 | 114
-8 | 103.15 | -116.55 | 90 | 95.9 | 5.3427 | 96 | 88 | 91 | 103 | 106 | 93 | 95 | 94 | 95 | 98
-10 | 103.15 | -118.55 | 90 | 71.9 | 7.7237 | 65 | 62 | 80 | 70 | 74 | 87 | 72 | 75 | 71 | 63
-12 | 103.15 | -120.55 | 90 | 45.6 | 9.7091 | 28 | 45 | 36 | 44 | 54 | 53 | 35 | 55 | 51 | 55
-13 | 103.15 | -121.55 | 90 | 28.1667 | 7.9352 | 28 | 40 | 24 | 23 | 19 | 35
-14 | 103.15 | -122.55 | 95 | 56.1 | 10.5034 | 54 | 61 | 47 | 46 | 71 | 55 | 40 | 53 | 72 | 62
-15 | 103.15 | -123.55 | 95 | 42.4 | 12.9546 | 54 | 26 | 46 | 19 | 52 | 47 | 59 | 40 | 32 | 49
-12 | 103.15 | -120.55 | 95 | 71.6 | 8.6564 | 67 | 71 | 82 | 72 | 64 | 63 | 90 | 72 | 72 | 63
-10 | 103.15 | -118.55 | 95 | 95.5 | 6.9482 | 107 | 94 | 91 | 94 | 108 | 90 | 90 | 93 | 99 | 89
-8 | 103.15 | -116.55 | 95 | 115.7 | 5.7164 | 101 | 115 | 118 | 114 | 117 | 117 | 117 | 123 | 119 | 116
-5 | 103.15 | -113.55 | 95 | 144 | 3.5901 | 142 | 142 | 146 | 150 | 144 | 141 | 141 | 139 | 148 | 147
-2 | 103.15 | -110.55 | 95 | 168.9 | 3.1429 | 174 | 163 | 167 | 171 | 171 | 172 | 167 | 168 | 168 | 168
1 | 103.15 | -107.55 | 95 | 190.7 | 1.8288 | 191 | 191 | 194 | 190 | 190 | 188 | 188 | 192 | 191 | 192
4 | 103.15 | -104.55 | 95 | 205.7 | 1.8886 | 207 | 206 | 205 | 209 | 204 | 203 | 208 | 204 | 206 | 205
7 | 103.15 | -101.55 | 95 | 220.9 | 1.792 | 223 | 222 | 221 | 223 | 222 | 218 | 220 | 221 | 218 | 221
10 | 103.15 | -98.55 | 95 | 236.9 | 1.2867 | 235 | 237 | 235 | 239 | 236 | 237 | 238 | 237 | 238 | 237
13 | 103.15 | -95.55 | 95 | 253 | 0.8165 | 252 | 252 | 253 | 254 | 253 | 253 | 253 | 254 | 254 | 252
-5 | 103.15 | -113.55 | 80 | 80.3 | 2.9078 | 79 | 77 | 78 | 82 | 81 | 78 | 85 | 78 | 80 | 85
-7 | 103.15 | -115.55 | 80 | 53.8 | 9.807 | 53 | 57 | 59 | 52 | 56 | 59 | 52 | 67 | 29 | 54
-9 | 103.15 | -117.55 | 80 | 23.75 | 11.5289 | sig1: 29; sig2: 18; sig3: 37; sig4: 11
-8 | 103.15 | -116.55 | 80 | 34.3 | 9.3696 | 52 | 29 | 38 | 32 | 37 | 42 | 20 | 22 | 34 | 37
-2 | 103.15 | -110.55 | 80 | 107.7 | 4.0565 | 105 | 113 | 109 | 104 | 100 | 109 | 113 | 108 | 110 | 106
1 | 103.15 | -107.55 | 80 | 136.7 | 1.4944 | 137 | 139 | 137 | 136 | 134 | 138 | 138 | 137 | 135 | 136
4 | 103.15 | -104.55 | 80 | 163.8 | 1.5492 | 163 | 164 | 163 | 166 | 161 | 163 | 165 | 164 | 166 | 163
7 | 103.15 | -101.55 | 80 | 183.7 | 1.3375 | 183 | 183 | 184 | 186 | 184 | 181 | 184 | 183 | 185 | 184
10 | 103.15 | -98.55 | 80 | 200.6 | 0.5164 | 200 | 201 | 200 | 201 | 200 | 201 | 201 | 201 | 200 | 201
13 | 103.15 | -95.55 | 80 | 214.3 | 1.3375 | 215 | 215 | 212 | 214 | 215 | 216 | 212 | 215 | 215 | 214
15 | 103.15 | -93.55 | 80 | 223.9 | 2.2336 | 227 | 223 | 220 | 221 | 225 | 224 | 226 | 223 | 226 | 224
17 | 103.15 | -91.55 | 80 | 235.5 | 0.70711 | 235 | 235 | 236 | 235 | 236 | 235 | 237 | 235 | 236 | 235
19 | 103.15 | -89.55 | 80 | 247.3 | 0.82327 | 246 | 248 | 247 | 246 | 247 | 247 | 248 | 248 | 248 | 248
20 | 103.15 | -88.55 | 80 | 252.7 | 0.82327 | 253 | 253 | 253 | 253 | 251 | 253 | 254 | 252 | 253 | 252